Each of the DICOM Server Demos uses a database to store information about the SOP Instances it manages. This document provides information regarding this database.

The database used is a Microsoft Access database (MDB file). The “Images” folder created by LEADTOOLS contains a sample MDB file named “LeadDicm.mdb”. When a server demo is run for the first time, it tries to locate that sample MDB file. If the demo fails to do so, it prompts the user to locate it. Once the MDB file is located, the demo will make a copy of it for its own usage; the original MDB file will not be used by the demo. Please note that beyond locating the database file (if necessary), you don’t need to do anything further to configure the database.

The sample MDB file is already filled with the information for the three sample images contained in the “Images” folders (these are named “Image1.dic”, “Image2.dic”, and “Image3.dic”). The server demo will also try to locate these images. If the demo fails to locate them and the user chooses not to locate them, the demo will start with an empty database.

Note: To use TLS security with a server demo, you have to copy the “Server.pem” file from the “Bin” folder to the folder where the server executable file resides.

Database Layout

The database contains four tables. They are described below.

“Patients” Table

	Field Name
	Data Type
	General

	PatientID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	PatientName
	Text
	Field Size: 50

	
	
	Required: No

	
	
	Allow Zero Length: Yes

	
	
	Indexed: No

	PatientBirthDate
	Date/Time
	Format: Short Date

	
	
	Required: No

	
	
	Indexed: No

	PatientBirthTime
	Date/Time
	Format: Long Time

	
	
	Required: No

	
	
	Indexed: No

	PatientSex
	Text
	Field Size: 10

	
	
	Required: No

	
	
	Allow Zero Length: Yes

	
	
	Indexed: No

	EthnicGroup
	Text
	Field Size: 50

	
	
	Required: No

	
	
	Allow Zero Length: Yes

	
	
	Indexed: No

	PatientComments
	Memo
	Required: No

	
	
	Allow Zero Length: No


“Studies” Table

	Field Name
	Data Type
	General

	StudyInstanceUID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	StudyDate
	Date/Time
	Format: Short Date

	
	
	Required: No

	
	
	Indexed: No

	StudyTime
	Date/Time
	Format: Long Time

	
	
	Required: No

	
	
	Indexed: No

	AccessionNumber
	Text
	Field Size: 50

	
	
	Required: No

	
	
	Allow Zero Length: Yes

	
	
	Indexed: No

	StudyID
	Text
	Field Size: 200

	
	
	Required: No

	
	
	Allow Zero Length: Yes

	
	
	Indexed: No

	PatientName
	Text
	Field Size: 200

	
	
	Required: No

	
	
	Allow Zero Length: Yes

	
	
	Indexed: No

	PatientID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	StudyDescription
	Memo
	Required: No

	
	
	Allow Zero Length: No


“Series” Table

	Field Name
	Data Type
	General

	SeriesInstanceUID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	StudyInstanceUID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	Modality
	Text
	Field Size: 50

	
	
	Required: No

	
	
	Allow Zero Length: Yes

	
	
	Indexed: No

	SeriesNumber
	Number
	Field Size: Long Integer

	
	
	Required: No

	
	
	Indexed: No

	PatientID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No


“Images” Table

	Field Name
	Data Type
	General

	SOPInstanceUID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	SeriesInstanceUID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	StudyInstanceUID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	InstanceNumber
	Number
	Field Size: Long Integer

	
	
	Required: No

	
	
	Indexed: No

	ReferencedFile
	Memo
	Required: No

	
	
	Allow Zero Length: No

	PatientID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	SOPClassUID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No

	TransferSyntaxUID
	Text
	Field Size: 200

	
	
	Required: Yes

	
	
	Allow Zero Length: No

	
	
	Indexed: No


